## Slide 1
Enhanced Reliability and Resilience Score (ERRS) Worksheet
Purpose | The Enhanced Reliability and Resilience Score (ERRS) provides a clear, consistent way to compare and prioritize mitigation options. It combines expert judgment with a quantitative framework to weigh options on a common scale and identify those that most effectively improve energy system reliability and resilience relative to cost.
Reliability Score
Assess how much the mitigation option will prevent power interruptions and ensure consistent, dependable energy delivery under normal operating conditions. A score of 1 means it would make little noticeable difference, while a score of 5 means it would greatly reduce routine outages or improve day-to-day system performance.
Resilience Score
Assess how much the mitigation option will help customers or facilities withstand and recover from major disruptions such as extreme weather, equipment failure, or supply shortages. A score of 1 means it provides little added protection or recovery capability, while a score of 5 means it would significantly strengthen the ability to maintain or quickly restore power after a disruption.
Feasibility Score
Assess how practical the mitigation option is to carry out, considering factors such as technical complexity, regulatory requirements, available expertise, and local conditions. A score of 1 means it would be difficult to implement, while a score of 5 means it would be straightforward and realistic given current capabilities.
Acceptability Score
Assess how likely stakeholders, communities, and decision-makers are to support the mitigation option. Consider factors such as public perception, political support, and community trust. A score of 1 means the action would face significant opposition or concern, while a score of 5 means it would be widely supported and accepted by affected groups.
Vulnerable Population Impact Score
Assess how effectively the mitigation action reduces negative impacts on people and communities most likely to experience serious consequences from energy disruptions. For example, those with limited access to backup power, critical medical needs, or fewer financial resources. A score of 1 means it provides little or no added protection, while a score of 5 means it would greatly reduce hardship or improve recovery for these groups.
Cost Score
Assess the economic cost of the mitigation action using a five-point scale, where a score of 1 represents a very low cost and a score of 5 represents a very high cost. Cost assessments should account for both upfront (capital) costs and ongoing (operation and maintenance) costs over time, and may be informed by historical cost data, cost projections, literature reviews, or expert and stakeholder input.
Mitigation Option A
Mitigation Option B
Instructions | Start by identifying two or more mitigation options under consideration. Then evaluate each option across the components listed below, using a 1–5 scale for each. Apply a combination of expert and stakeholder judgment to ensure that a broad range of perspectives inform the scoring process.
Reliability
Score (A)
Resilience
Score (A)
Feasibility
Score (A)
Acceptability
Score (A)
Vuln. Pop.
Score (A)
+
×
×
×
)
(
Cost
Score (A)
=
Reliability
Score (B)
Resilience
Score (B)
Feasibility
Score (B)
Acceptability
Score (B)
Vuln. Pop.
Score (B)
+
×
×
×
)
(
Cost
Score (B)
=
Write scores (1–5) here. ↴
Copy the scores (1–5) you assigned above into the formulas below. ↴
Write mitigation options here. ↴
ERRS for Opt. A
ERRS for Opt. B
[
]
[
]
Calculation Steps | Add the Reliability and Resilience scores first, then multiply by the Feasibility, Acceptability, and Vulnerable Population Impact scores. Finally, divide the total by the Cost Score to get the ERRS value for each option.